SESSION C

Datasets & Experimental Design

Slides 13–19

# Slide 13 — Dataset Architecture

Tiered Dataset Table

| Tier | Dataset | Role | Images | Camera(s) | DR Labels |
| --- | --- | --- | --- | --- | --- |
| 1 — Training | EyePACS (40%) | Primary train/val (Exp 1, 2) | ~14,050 | Canon CR-1 | 0–4 (5-class) |
| 2 — Clinical | IDRiD | CLAHE sweep, lesion masks (Exp 2, 4, 5) | 516 | Kowa VX-10α | 0–4 + lesion masks |
| 3 — Generalization | Messidor-2 | External zero-shot (Exp 5) | 1,748 | Topcon TRC-NW6 | 0–2 (adjudicated) |
| 3 — Generalization | Messidor | External zero-shot (Exp 5) | 1,200 | Topcon TRC-NW6 | 0–3 (retinopathy) |
| 4 — Device Shift | RFMiD | Cross-device (Exp 6) | 3,200 | Topcon, Kowa | Multi-label |
| 4 — Device Shift | DDR | Cross-device (Exp 6) | 13,673 | Canon, Topcon | 0–4 (5-class) |
| 4 — Device Shift | ODIR-5K | Cross-device (Exp 6) | 5,000 | Canon, Zeiss | Multi-label |

Design Rationale

- 4-tier architecture isolates training, clinical validation, generalization, and device-shift domains

- Camera hardware diversity spans Canon, Topcon, Kowa, Zeiss — covering dominant fundoscopy manufacturers

- Zero-shot protocol: Tier 3–4 datasets never seen during training; tests genuine transferability

- EyePACS 40% subset (~14,050 images) balances computational feasibility with statistical power

Speaker Notes

The dataset architecture is designed to systematically test the causal chain from domain variability to generalization. Tier 1 (EyePACS) provides the training domain with the largest labeled fundus corpus available. The 40% subset was adopted to match RTX 3060 12GB memory constraints while preserving five-class distribution proportionality.

Tier 2 (IDRiD) serves a dual purpose: it provides pixel-level lesion annotations required for Experiment 4 (Grad-CAM explainability with ALO/IoU), and it is the only dataset with ground-truth segmentation masks for microaneurysms, hemorrhages, hard exudates, and soft exudates. IDRiD also serves as the CLAHE parameter sweep dataset in Experiment 2.

Tier 3 (Messidor/Messidor-2) tests cross-database transferability under H-4. Generalization ratio G = F1_external / F1_EyePACS must reach ≥ 0.85 per OD-4. These datasets use Topcon cameras, introducing a camera-domain shift from the Canon-dominated EyePACS training set.

Tier 4 (RFMiD, DDR, ODIR-5K) introduces explicit device domain shift under H-6. These datasets contain images from multiple manufacturers, but per-image camera metadata is not available in public releases — datasets are listed under all applicable manufacturers and evaluated as a whole, with this limitation acknowledged per SB-1.8 in INVARIANTS.md.

Critical constraint per DGL-1: all performance claims are bounded to this specific dataset architecture. Extension to other datasets, devices, or clinical populations requires independent validation not available in this work.

# Slide 14 — Experimental Design Overview

Experiment → Hypothesis → Claim Mapping (Diagram Description)

Structure: Causal Chain diagram with three levels — Problem → Method → Evidence

[PROBLEM LAYER]

Device variability → Distribution shift → Degraded CNN performance

[METHOD LAYER]

V4 preprocessing pipeline → Image normalization → Feature visibility → CNN generalization

[EVIDENCE LAYER — 5 active experiments]

Exp 1 (Factorial)    → H-1 (Preprocessing Dominance)     → PC-1

Exp 2 (Ablation)     → H-1 decomposition + H-2 (CLAHE)  → PC-2, PC-8

Exp 4 (Grad-CAM)     → H-5 (Explainability)             → PC-7

Exp 5 (Generalize)   → H-4 (Cross-Database Transfer)    → PC-6

Exp 6 (Device Shift) → H-6 (Device Robustness)          → PC-9

[DROPPED] Exp 3 (Degradation) — DROPPED in V3

[FUTURE]  Exp 7 (Kazakh Clinical) — no data available

Bullet Summary

- 5 active experiments test 5 hypotheses (H-1, H-2, H-4, H-5, H-6); H-3 dropped

- Each experiment maps to 1–2 primary claims (PC-1 through PC-9)

- Causal chain: domain variability → preprocessing normalization → measurable CNN improvement

- Experiment dependencies: Exp 2, 4, 5, 6 all depend on PC-1 (Exp 1 foundational)

Speaker Notes

The experimental design implements a hypothesis-driven evaluation where each experiment tests a specific decomposition of the central hypothesis. The causal chain has two paths: the Problem chain (Premise 1 → Premise 2: device variability causes distribution shift, which degrades CNN classification) and the Solution chain (Premise 3: the V4 pipeline standardizes image appearance, reducing inter-domain shift while preserving diagnostic features).

Experiment 1 is foundational — it validates PC-1 (preprocessing dominance) via a 2×2 factorial design with 6 configurations. All subsequent experiments depend on PC-1 being established first. Experiment 2 decomposes H-1 into component contributions (PC-8) and tests CLAHE sensitivity (PC-2, supporting H-2). Experiment 4 provides the mechanistic bridge via Grad-CAM: if preprocessing improves classification (PC-1) AND directs attention to lesions (PC-7), the causal explanation is strengthened.

Experiments 5 and 6 test the generalization scope. Exp 5 (H-4) evaluates whether preprocessing-trained models transfer to unseen datasets without retraining. Exp 6 (H-6) evaluates whether cross-device performance variance is reduced by preprocessing. Together, they test whether the pipeline’s normalization effect extends beyond the training domain.

Experiment 3 (robustness under artificial degradation using APTOS 2019) was dropped in V3 because the synthetic degradation protocol was deemed less informative than real-world device domain shift testing (Exp 6). Experiment 7 (Kazakh clinical validation) remains as future work — no institutional data agreements are in place.

# Slide 15 — Experiment 1: Factorial Design (2×2 + Extensions)

Configuration Table

| Config | Preprocessing | Backbone | Status |
| --- | --- | --- | --- |
| A | Baseline (crop + resize + ImageNet normalize) | ResNet-50 | Core |
| B | Full V4 pipeline (all 6 stages) | ResNet-50 | Core |
| C | Baseline (crop + resize + ImageNet normalize) | EfficientNet-B3 | Core |
| D | Full V4 pipeline (all 6 stages) | EfficientNet-B3 | Core |
| E | Full V4 + per-patient binocular blending | ResNet-50 | Optional |
| F | Full V4 + per-patient binocular blending | EfficientNet-B3 | Optional |

Dominance Criterion (EH-3)

Preprocessing is empirically dominant iff ALL three hold simultaneously:

- ΔF1 (weighted) ≥ 5 percentage points on the test partition

- ΔAUC (ROC) ≥ 0.02 on the test partition

- Δκ (Cohen’s Kappa, quadratic) ≥ 0 (no degradation)

Protocol

- 3-fold patient-level cross-validation; seed=42; deterministic=true

- No patient leakage: all images from one patient in same fold

- Dominance tested independently: B vs. A (ResNet-50), D vs. C (EfficientNet-B3)

- Configs E–F: optional binocular fusion extension (PatientHead architecture)

Speaker Notes

Experiment 1 implements the core 2×2 factorial design crossing two factors: preprocessing (baseline vs. full V4) and architecture (ResNet-50 vs. EfficientNet-B3). The 6 configurations A–F are defined in _CONFIGS within exp1_factorial.py. Configs A–D form the core factorial; E–F are optional extensions testing the PatientHead binocular fusion model.

The EH-3 dominance criterion is deliberately conservative: all three metric thresholds must hold simultaneously. Improvement on a subset (e.g., F1 improves but Kappa degrades) does not constitute dominance. This prevents the common pitfall of cherry-picking the most favorable metric.

Patient-level splitting ensures zero data leakage: if a patient has bilateral images (left + right eye), both images are assigned to the same fold. This is implemented via patient_id-based stratified splitting in the data loader. The 3-fold protocol was adopted (reduced from 5-fold in earlier versions) to balance statistical rigor with computational feasibility on the RTX 3060 (12GB).

EH-4 (Sufficient Validation) additionally requires the same direction of effect on at least one external dataset (Messidor-2 or IDRiD) and replication across both architectures. Configs E–F provide supplementary evidence but are not required for EH-4 satisfaction.

Implementation note: mixed precision (fp16) is disabled for EfficientNet-B3 configs (C, D, F) due to fp16 overflow causing extreme logits (±1700 range) and val_loss NaN. ResNet-50 configs use fp16 without issue.

# Slide 16 — Experiment 2: Ablation + CLAHE Sensitivity

V4 Ablation Sequence (7 Levels)

| Level | Label | Stages Active | Cumulative |
| --- | --- | --- | --- |
| 0 | Baseline | Stages 1 + 4 (crop+resize + ImageNet norm) | Baseline only |
| 1 | +Canonical Flip | Stages 0a + 1 + 4 | +Stage 0a |
| 2 | +OD-Fovea Rotation | Stages 0a + 0b + 1 + 4 | +Stage 0b |
| 3 | +Flat-Field | Stages 0a + 0b + 1 + 2 + 4 | +Stage 2 |
| 4 | +CLAHE | Stages 0a + 0b + 1 + 2 + 3 + 4 | +Stage 3 |
| 5 | +Augmentation | Stages 0a + 0b + 1 + 2 + 3 + 5 + 4 | +Stage 5 |
| 6 | Full V4 | All stages (0a+0b+1+2+3+5+4) | Complete |

Image Quality Metrics

- CNR (Contrast-to-Noise Ratio): vessel-to-background contrast

- VVI (Vessel Visibility Index): retinal vessel clarity

- Entropy: information content of preprocessed image

- SSIM: structural similarity relative to reference

CLAHE Parameter Sweep

- Dataset: IDRiD; dual-constraint clip limit swept over (clip_factor, global_threshold) grid

- Target: per-class F1 sensitivity profile for DR 1 and DR 2 (H-2)

Speaker Notes

Experiment 2 serves two purposes: (1) component-level ablation quantifying each V4 stage’s incremental contribution to classification (supporting PC-8 and H-1 decomposition), and (2) CLAHE parameter sensitivity analysis identifying whether the dual-constraint clip limit exhibits a non-trivial optimization landscape (supporting PC-2 and H-2).

The ablation sequence is strictly incremental: each level adds exactly one stage to the previous configuration. This allows isolation of each stage’s marginal contribution. Level 0 (baseline) corresponds to Experiment 1 Configs A/C; Level 6 (full V4) corresponds to Configs B/D. The increment from Level 3 to Level 4 isolates the CLAHE contribution — this is expected to show the largest single-stage improvement based on prior literature.

Image quality metrics (CNR, VVI, Entropy, SSIM) are measured at each ablation level to provide an objective, task-independent assessment of preprocessing effects. These metrics quantify the feature visibility improvement that the causal chain predicts should mediate the classification improvement.

The CLAHE parameter sweep uses IDRiD (not EyePACS) as the test dataset. The dual-constraint formula is CL = min(clip_factor × tile_area/256, global_threshold × tile_area). H-2 predicts at least one local optimum in per-class F1 for DR 1 and DR 2 — these classes represent the most diagnostically challenging grades where microaneurysm and small vessel features are subtle and CLAHE sensitivity is expected to be highest.

This experiment directly supports contributions SC-A (adaptive CLAHE variant) and SC-B (CLAHE sensitivity characterization). SC-D (flat-field illumination normalization) is also evidenced by comparing Levels 2 and 3 of the ablation.

# Slide 17 — Experiment 4: Explainability (Grad-CAM)

Formal Metric Definitions

Primary metric — Attention–Lesion Overlap (ALO):

ALO = area(GradCAM ∩ lesion_mask) / area(lesion_mask)

Interpretation: fraction of the lesion region covered by model attention.

Clinically relevant — directly answers “Does the model attend to the lesion?”

Secondary metric — Intersection-over-Union (IoU):

IoU = area(GradCAM ∩ lesion_mask) / area(GradCAM ∪ lesion_mask)

Interpretation: symmetric spatial precision of attention overlap.

Protocol

- Model: EfficientNet-B4 (higher-capacity backbone for explainability)

- Dataset: IDRiD (pixel-level lesion annotations)

- Sample: 10 images × 5 DR classes × 4 lesion types (MA, HE, EX, SE)

- Comparison: baseline (Stages 1+4) vs. full V4 pipeline (all stages)

- Hypothesis: ALO_preprocessed > ALO_baseline (primary test for H-5)

Boundary Condition (NC-14)

- Grad-CAM ≠ clinical localization; interpretability tool, not diagnostic output

Speaker Notes

ALO is the primary explainability metric because it is asymmetric and clinically meaningful: it measures what fraction of the known lesion area is covered by the model’s attention (GradCAM activation above threshold). A high ALO means the model “sees” the lesion. IoU is secondary because it penalizes the model for attending to non-lesion regions — which may be diagnostically relevant context (e.g., vessel arcades near microaneurysms) that is not pathological but aids classification.

The protocol uses EfficientNet-B4 (not B3 from Experiment 1) as a higher-capacity backbone where Grad-CAM activations have finer spatial resolution. The IDRiD dataset is the only dataset in the architecture with pixel-level lesion segmentation masks, making it the sole viable dataset for quantitative explainability evaluation.

The 10 images × 5 classes sampling yields 50 images total. For each image, ALO and IoU are computed per lesion type present: microaneurysms (MA), hemorrhages (HE), hard exudates (EX), and soft exudates (SE). Statistical comparison uses a paired test across images for at least 3 of 4 lesion types.

NC-14 from INVARIANTS.md is explicitly stated as a boundary condition: Grad-CAM activation maps indicate regions of high gradient-weighted activation in the final convolutional layer. They do not represent pixel-level diagnostic delineation of lesion boundaries. This experiment provides evidence that preprocessing directs attention toward clinically relevant structures (PC-7), but does not claim clinical-grade lesion detection capability.

This experiment provides the mechanistic bridge in the causal chain: if Exp 1 shows preprocessing improves classification AND Exp 4 shows preprocessing directs attention to lesions, then the causal explanation — preprocessing improves feature visibility, which improves classification — is supported by converging evidence.

# Slide 18 — Experiments 5 & 6: Generalization + Device Shift

Experiment 5 — Cross-Database Transferability (H-4)

- G = F1_external / F1_EyePACS; success criterion: G ≥ 0.85 (per OD-4)

- Test datasets: Messidor-2 (Topcon), Messidor (Topcon), IDRiD (Kowa)

- Zero-shot protocol: checkpoints from Exp 1 applied without retraining

- Metrics: Accuracy, Weighted F1, ROC-AUC per dataset; bootstrap 95% CI

Experiment 6 — Device Domain Shift (H-6)

- Test datasets: RFMiD (Topcon/Kowa), DDR (Canon/Topcon), ODIR-5K (Canon/Zeiss)

- Camera grouping: Canon, Topcon, Kowa, Zeiss — cross-device performance matrix

- H-6 criterion: lower cross-device performance variance for preprocessed models

- Statistical: DeLong test for ROC-AUC comparison; bootstrap CI across camera groups

Boundary Conditions

- NC-16: device shift results ≠ device certification or regulatory compliance

- Per-image camera metadata unavailable in DDR/ODIR public releases (SB-1.8)

Speaker Notes

Experiments 5 and 6 were split from V3’s merged Experiment 3 back into two distinct V4 experiments because they test different hypotheses. Exp 5 tests H-4 (cross-database transferability: does preprocessing enable zero-shot generalization to unseen clinical datasets?) while Exp 6 tests H-6 (device robustness: does preprocessing reduce cross-device performance variance?).

The generalization ratio G = F1_external / F1_EyePACS is a relative metric that normalizes external performance against in-domain performance. The threshold G ≥ 0.85 (per OD-4 in INVARIANTS.md) means that external performance must be within 15% of in-domain performance. This is evaluated per external dataset independently.

Experiment 6 uses camera-to-dataset mapping from get_dataset_camera_groups(): Canon maps to EyePACS, DDR, ODIR-5K; Topcon maps to Messidor, RFMiD, DDR; Kowa maps to IDRiD, RFMiD; Zeiss maps to ODIR-5K. Note that DDR and ODIR-5K contain images from multiple manufacturers, but per-image camera metadata is unavailable in public releases — these datasets are evaluated as whole units per camera group, with the limitation documented per SB-1.8.

The zero-shot protocol is critical: models are trained only on EyePACS and applied to external datasets without any fine-tuning, domain adaptation, or re-calibration. This tests the generalization property of the preprocessing pipeline itself — whether standardizing image appearance is sufficient for cross-domain transfer.

NC-16 from INVARIANTS.md must be prominently stated: these results are empirical observations of cross-device performance variability, not device certification. No claim of device-agnostic deployment readiness is permissible based on Experiment 6 alone.

# Slide 19 — Evaluation Metrics Framework

Comprehensive Metric Hierarchy

| Metric | Category | Type | Purpose / Hypothesis |
| --- | --- | --- | --- |
| Weighted F1-score | Classification | Primary | DR severity grading accuracy (H-1, EH-3) |
| ROC-AUC | Classification | Primary | Discriminative ability across thresholds (H-1, EH-3) |
| Cohen’s κ (quadratic) | Classification | Primary | Agreement beyond chance; ordinal weighting (H-1, EH-3) |
| Accuracy | Classification | Primary | Overall correct rate (supplementary to F1) |
| Sensitivity / Specificity | Clinical | Secondary | Referable DR screening (≥ grade 2) |
| PPV / NPV | Clinical | Secondary | Clinical decision support metrics |
| ECE | Calibration | Secondary | Expected Calibration Error; probability reliability |
| Brier Score | Calibration | Secondary | Probabilistic prediction accuracy |
| ALO | Explainability | Primary (Exp 4) | Lesion coverage by attention (H-5) |
| IoU | Explainability | Secondary (Exp 4) | Symmetric spatial precision of attention (H-5) |
| CNR | Image Quality | Diagnostic | Vessel-to-background contrast (H-2, Exp 2) |
| VVI | Image Quality | Diagnostic | Retinal vessel clarity (H-2, Exp 2) |
| Entropy | Image Quality | Diagnostic | Information content of enhanced image (Exp 2) |
| SSIM | Image Quality | Diagnostic | Structural similarity preservation (Exp 2) |
| McNemar test | Statistical | Validation | Paired classification comparison |
| DeLong test | Statistical | Validation | ROC-AUC comparison significance |
| Bootstrap 95% CI | Statistical | Validation | Confidence intervals for all metrics |

Rationale

- Multiple metric groups prevent single-metric optimization bias (EH-3 requires 3 simultaneous)

- Classification metrics validate H-1; image quality metrics validate preprocessing effect (H-2)

- Explainability metrics (ALO, IoU) provide mechanistic evidence for H-5

- Statistical tests ensure reproducibility: McNemar for paired comparison, DeLong for AUC

Speaker Notes

The evaluation framework is organized into five metric categories, each serving a distinct evidential role in the hypothesis-driven experimental design. The primary classification metrics (Weighted F1, ROC-AUC, Cohen’s κ, Accuracy) are the direct dependent variables for H-1 and form the basis of the EH-3 dominance criterion. All three primary thresholds (ΔF1 ≥ 5pp, ΔAUC ≥ 0.02, Δκ ≥ 0) must be satisfied simultaneously — improvement on a subset does not constitute dominance.

Clinical metrics (Sensitivity, Specificity, PPV, NPV) are computed for the binary referable DR threshold (≥ grade 2), following the standard clinical screening paradigm. These are reported for all experiments but are secondary to the primary five-class metrics. The referable/non-referable split is implemented via to_binary_referable() in label_harmonization.py.

Calibration metrics (ECE, Brier Score) assess whether model confidence scores are reliable probability estimates. These are critical for clinical deployment contexts where a physician needs to trust the model’s confidence level — but per NC-16 and DGL-4, calibration quality does not constitute clinical reliability certification.

Explainability metrics (ALO, IoU) are specific to Experiment 4 and are computed against IDRiD lesion masks. ALO is designated primary because it directly measures the clinically relevant property: lesion coverage by model attention. IoU is secondary because it penalizes attention to non-lesion regions that may still be diagnostically relevant context.

Image quality metrics (CNR, VVI, Entropy, SSIM) are computed per ablation level in Experiment 2 and provide the task-independent evidence that preprocessing improves feature visibility — the mediating variable in the causal chain. Statistical validation uses McNemar (paired classification comparison), DeLong (ROC-AUC comparison), and bootstrap 95% CI across all metrics. Holm-Bonferroni correction is applied for multiple comparisons.